## Sheet1
BMC BIOMEDICAL TECH EQUIPMENT - CORE LIST | [6 empty] | N | New
Internal Owner | Karin Hsiao | [5 empty] | R | Refurbished
Last Verified | [6 empty] | NF | Non-Functioning
Please note: It is not necessary to purchase multiple large devices. Small devices such as infusion pumps and centrifuges can be purchased in multiples.
This list should include: Tool kits, meters, safety analyzer, soldering stations, boards, gauges, materials used in electrical engineering classes. Large devices to be considered are devices seen in operating rooms. (Brand does not matter)
To conduct a low cost and high efficient BMET program is to utilize partnerships with local Biomedical companies in which students may have “apprenticeship” hands on experience as part of classes. This method of learning is the most efficient as students learn on the field.
Item | Equip. Cond. | Qty | Unit Price | Ext Price | SKU | Category | Program | Notes | Vendor
VWR SP micro biology incubator |  | 1 |  |  |  |  | BioMed Tech
Hybrid incubator |  | 1 |  |  |  |  | BioMed Tech
Century System 3 Dialysis unit |  | 1 |  |  |  |  | BioMed Tech
Tuttnaur 2540 Auto clave |  | 1 |  |  |  |  | BioMed Tech
Valley Lab Force 2 Electro surgical units |  | 2 |  |  |  |  | BioMed Tech
Philips neonate bedside monitors |  | 2 |  |  |  |  | BioMed Tech
Narkomed 2B Anesthesia unit |  | 1 |  |  |  |  | BioMed Tech
Zimmer ATS 1500 Tourniquet Systems |  | 6 |  |  |  |  | BioMed Tech
Castle XRay Table |  | 1 |  |  |  |  | BioMed Tech
Diasonics 901 Portable C-Arm |  | 1 |  |  |  |  | BioMed Tech
GE AMX 3 X-Ray |  | 1 |  |  |  |  | BioMed Tech
Nihon Neuropak 8 EEG |  | 1 |  |  |  |  | BioMed Tech
Hill Rom 11CS 90 Infant Warmer |  | 1 |  |  |  |  | BioMed Tech
Amsco 180 Autoclave |  | 1 |  |  |  |  | BioMed Tech
Lifecare PCA pumps |  | 2 |  |  |  |  | BioMed Tech
Baxter ASFO Syringe Pump – (Several) |  | 1 |  |  |  |  | BioMed Tech
Ultramark 9 Ultrasound |  | 1 |  |  |  |  | BioMed Tech
Datascope System 90 1-A intra-aortic Balloon Pump |  | 1 |  |  |  |  | BioMed Tech
Nellcor P-B Adult Star 2000 Ventilator |  | 1 |  |  |  |  | BioMed Tech
Gaymar Medi Therm Blanket Warmer |  | 1 |  |  |  |  | BioMed Tech
Hamilton Bell Vanguard 6300 Centrifuges |  | 3 |  |  |  |  | BioMed Tech
Zoll defibrillator |  | 1 |  |  |  |  | BioMed Tech
Welch Allyn Vital Signs Monitor |  | 1 |  |  |  |  | BioMed Tech
B-P cuffs |  | 2 |  |  |  |  | BioMed Tech
This is what we have in the lab, any similar equipment or covered in the CBET would be appreciated.
Any parts related to these equipment list would be appreciated.
Any common tools that biomeds use are welcomed, the lab only has 1 tool kit.
Safety analyzers needed.
Any other device that is commonly seen in the Biomed field and in the CBET material would be appreciated.